## Cover
Australia's Largest Range of Medical Batteries
2009 Nett Medical Price List
Effective 1st April 2009. Valid until 30th June 2009
Q2070609
Sydney |  | Address | 33-39 Sloane Street Marrickville NSW 2204
|  | BulkWarehouse 2 | 25-27 Sloane Street Marrickville NSW 2204
|  | Post | PO Box 177 Marrickville NSW 1475
|  | Phone | International (61-2) Interstate (02) 95191200
|  | Fax | International (61-2) Interstate (02) 95194604
|  | email | orders@master-instruments.com.au
Melbourne |  | Address | Units 13-14 107 Heatherdale Road Ringwood VIC 3134
|  | Phone | International (61-3) Interstate (03)9872 6422
|  | Fax | International (61-3) Interstate (03)9872 6466
|  | email | vic@master-instruments.com.au
Gold Coast |  | Address | Po Box 6316 Yatala QLD 4207
|  | Phone | International (61-7) Interstate (07)5546 1676
|  | Fax | International (61-7) Interstate (07)5546 1676
|  | email | qld@master-instruments.com.au
For complete product information including data sheets & pictures please use our regularly updated web site www.master-instruments.com.au
place orders by email via orders@master-instruments.com.au

## Price List
Provided by -------->> |  | Supplied by Terco Electronics
Item Code | Unit Order Code | Suitable For Use In Original Brand No / Model No / Equipment No. | Brand | Model No.
Medical Batteries |  |  |  | 6th Edition Catalogue Pages 117 to 126
46001-563 | LC-R121R3P | 3M 3000 Infusion Pump | Panasonic | LC-R121R3P
46001-564 | LC-R122R2P | 3M Infusion Pump Micro 285 | Panasonic | LC-R122R2P
22000-000 | MB937 | 3M Espe Eliper Freelight & Freelight 2( Ref:076940) | Master / GP | 4/GP100AAALH
22000-000A | MB937A | 3M Jupiter Air Purifying Respirator | Master / Sanyo | 8/HR-4/3AU Refurbishment
22000-312A | MB912 | A&D TM-2412 Ambulatory Blood Pressure Monitor | Master / Sanyo | 4/N600AAL Refurbishment
60000-035 | A204/1.0K 07190163 | Abbott Flexiflow Feeding pump Companion 083, 084 | Sonnenschein Dryfit | A204/1.0K 07190163
60000-035 | A204/1.0K 07190163 | Abbott Clearstar Feeding Pump | Sonnenschein Dryfit | A204/1.0K 07190163
46001-560A | LC-R064R5P | Abbott Patrol Flexiflow Feeding Pump | Panasonic | LC-R064R5P
22000-186 | MB688 | Abbott Lifecare 3 pump | Master / Cyclon | See Oxymetric 2/3
22000-315 | MB23 | Abbott 4 Lifecare 4 (series 4200) | Master / Cyclon | 4/0810-0004 + connector
60000-037 | A208/2.5S 07190268 | Abbott Life Care Micro-Macro Pump | Sonnenschein Dryfit | A200 07190268 (A208/2.5S)
22000-315A | MB17 | Abbott Life Care 5000 (Plum) / Quantum 5000 | Sonnenschein Dryfit | A208/2.5S + Connector
22000-315B | MB939 | Abbott Gemstar Docking Station NiMH Replacement Model 13075 | Master / Sanyo | 2/HR-4/3AU 4WAY Connector
22000-315C | MB939C | Abbott Gemstar Docking Station Li-Ion Replacement Model 13075-24 | Master / Sanyo | 2/UR18650FM 6WAY Connector
22000-312 | MB909 | Actester | Master / Panasonic | see "Trimed"
60000-592 | PE1.2-12 | Advance Medical Instruments 7500 | Portalac | PE1.2-12
22000-185 | MB662 | Aequitron Volumetric Ventilator | Master / Cyclon | Same as Datex Ohmeda 4700
20003-999D | MB37A | Aerogen Aeroneb Pro Nebulizer | Master / Varta | 4/V450HR + CE-K & Poly
20003-945A | MB48 | Agilent 8026B Fetal Monitor | Master / Varta | 5/V250H Column
88000-036S-HP | NJ1020HP | Agilent M3046 Patient Monitor | Master | NJ1020HP
35007-119 | 0859-0012 | Agilent A3 Patient Monitor (M3926A) | Enersys / Cyclon | Monobloc 6V 8Ah 0859-0012
46001-560A | LC-R064R5P | Agilent A1 Blood Presure Monitor | Panasonic | LC-R064R5P
46001-550NAG | MB384 | Agilent XLT M4735A Heartstream Defib | Matsushita | LCT-1912ANK Modified (M3516A)
46001-550NAG | MB384 | Agilent XLT Heartstream Monitor | Matsushita | LCT-1912ANK Modified (M3516A)
35007-119 | 0859-0012 | Agilent M3928A / A3 Patient Monitor | Enersys / Cyclon | Monobloc 6V 8Ah 0859-0012
88000-005AG | NI1030AG | Philips M2636-605-00 Telemon B Patient Mon / M2636B(M4790A)(DR35S) | Inspired Energy | NI1030AG
60000-016YUASA | NP24-12B | Airshields Transport Incubators TI500 Globetrotter | Yuasa | Two units Required of NP24-12B
60000-016YUASA | NP24-12B | Airshields Ventilator Suction Pump | Yuasa | Two units Required of NP24-12B
22000-294A | MB69 | Airshields Micro Trans Illuminator | Master / Sanyo | 6/KR1800SCE
20003-670 | 56722 (bulk) | Airshields 100 / 200 Incubator | Varta | 9 Volt 56722 bulk
20003-987F | MB64 | Airshields C450 | Varta | 7/V350H PCB D+10mm, D-10mm
20003-670 | 56722 (bulk) | Airshields Open Cot Radiant Warmer | Sanyo | 9 Volt 56722 bulk
22000-294 | MB68 | Airshield Minolta Jaundice Meter 101 | Master / Sanyo | 4/N270AA
22000-006D | MB84A | Allersearch Microneb Nebuliser | Master / Sanyo | 10/N700AACL
46001-557 | LC-R063R4P | Alaris P3000 / P6000 Infusion Pump | Panasonic | LC-R063R4P
22000-006 | MB81 | Alaris Signature Infusion Pump | Master / Sanyo | 10/KR1800SCE + Connector
22000-006A | MB81C | Alaris Signature Infusion Pump (same more capacity) | Master / Sanyo | 10/CP2400SCR + Connector
22000-006B | MB81A | Alaris Asena Syringe Driver | Master / Sanyo | 6/HR-AU Refurbishment
20008-848 | MB84 | Ameda Breast Pump | Master / Sanyo | 10/N700AACL
60000-016YUASA & 60000-800A | NP24-12B & PS628 | Amsco Quantum Operating Table | Yuasa / Century | NP24-12B & 2 Units of PS628
22000-254A | MB93A | Angas CD98 Co2 Analyser | Master / Sanyo | 3/HF-E5U
60000-020 | NP5-12 | Armstrong Medical 90024 Aspirator | Genesis | NP5-12
22000-254 | MB92A | Arjo Alenti/Miranti/Marisa/Encore/Mary(KTA0102) | Powersonic | 2/PS1238 Refurbishment
22000-255 | MB92B | Arjo Carendo, Carino Patient lifter battery NEA0100-83 Refurb' | Master / Sanyo | 20/HR-SCU
22000-255C | MB92C | Arjo Trixie Patient Lifter Refurbishment | Master / Powersonic | 2/PS1229
22000-255D | MB92D | Arjo Tempo,Opera & KKA5020 Patient Lifter Refurbishment | Master / Cyclon | 4/0809-0012
22000-289 | MB424A | Array Medical Actalyke A1P Coagulation Analyser | Master / Sanyo | 6/KR4400D
22000-363A | MB98A | Ascom Teleprotect U922 Refurbishment | Master / Sanyo | 2/HF-C1U Refurbishment
22000-062 | MB425A | Aspect Medical Systems BIS Monitor A-2000 | Master / Sanyo | 6/HR-4/5AU
22000-270 | MB107 | Atmos N' Atmoport Tracheal Respirator | Master / Sanyo | 10/N3000CR
60000-592 | PE1.2-12 | Atom 1235 Syringe Pump | Portalac | PE1.2-12
22000-271B | MB109 | Atom 235 Syringe Pump | Master / Sanyo | 6/KR1300SC
22000-273 | MB110 | Atom DP10 Foetal Monitor | Master / Sanyo | 10/KR1100AEL
22000-273A | MB110A | Atom DP20 Foetal Monitor | Master / Sanyo | 10/N1300SCR
22000-274 | MB111 | Atom P300 Syringe Pump | Master / Sanyo | 6/KR1800SCE
22000-272 | MB112 | AtomV 700 | Master / Sanyo | 7/KR1300SC
20003-773A | 3/V80H S+S- | Atom V850/2100 Incubator Power Failure Alarm | Varta | 3/V80H S+S-
60000-016YUASA | NP24-12B | Atom Transcapsule Incubator (PC515) | Yuasa | NP24-12B
60000-016YUASA | NP24-12B | Atom Transcapsule Incubator V80TR PowerPack | Yuasa | NP24-12B
46001-566A | LC-R127R2P | Atom Transcapsule Incubator V808 Internal Battery | Panasonic | LC-R127R2P
30000-110 | N600AA | Atom V80 Incubator Ram | Sanyo | Two units Required of N600AA c/w 5mm wide tags
30000-371 | N3000CR c/w tags | Atom OX-60 02 Analyser | Sanyo | N3000CR c/w tags
46001-564 | LC-R122R2P | AVI 400 Infusion Pump | Panasonic | LC-R122R2P
22000-369A | MB124A | Bard Site Rite 3 Ultrasound (800049B01) | Master / Sanyo | 12/HR-4/3FAU Refurbishment
22000-369B | MB124B | Bard Site Rite Ultrasound (Part 8001C0775) | Master / Sanyo | 12/N3000CR Refurbishment
22000-369 | MB123 | Bard BVI 3000 Bladder Scanner | Master / Sanyo | 6/HR-AAU Refurbishment
35007-118 | 0809-0012 | Bard BVI 2500 Bladder Scanner | Cyclon | Monobloc 6V 5Ah 0809-0012
35007-100 | 0819-0012 | Bard BVI 2500 Bladder Scanner | Cyclon | Monobloc 6V 2.5Ah 0819-0012
60000-018YUASA | NP2-12 | Baxter 6201 volume inf pump | Yuasa | NP2-12
46001-565 | LC-R123R4P | Baxter 6301 FlowGuard | Panasonic | LC-R123R4P
22000-157 | MB135 | Baxter AS20A Syringe Pump | Master / Sanyo | 5/N600AA
20003-943A | MB147 | Baxter Hemofilter | Master / Varta | 3/V250H Stack Plain
22000-023 | MB136A | Baxter Colleague Infusion pump backup battery | Master / Tadiran | 2/TL-2100S + Connector & bracket
60000-018YUASA | NP2-12 | Baxter Colleague Infusion pump main battery | Yuasa | Two units Required of NP2-12
22000-023C | MB139A | Baxter Drager D-Vapor Desflurane Anesthetic Vaporizer | Master / Varta | 5/V450HR
22000-271B | MB109 | B.Braun Epidural Pump | Master / Sanyo | (use Atom 235) 6/KR1300SC
22000-024 | MB143 | B.Braun Infusomat Infusion Pump | Master / Sanyo | 6/KR1300SCT Refurbishment
20006-083A | MB160 | BCI Mini Torr 6004 NIBP/SP02 Monitor | Master / Sanyo | 5/N3000CR
20006-083 | MB152 | BCI Pulse Oximeter 3303 | Master / Sanyo | 3/KR900AAEC c/w Connector
60000-020 | NP5-12 | BCI 3100 Pulse Oximeter | Genesis | NP5-12
22000-147A | MB152A | BCI 9004-000 Capnocheck sleep Capnograph (58522B1) | Master / Sanyo | 5/KR5000DEL
22000-146 | MB154 | Bear cub 2/3/4/5 Ventilator | Master / Sanyo | 4/KR-AAH
46001-557 | LC-R063R4P | Bear Home Ventilator | Panasonic | Two units Required of LC-R063R4P
60000-592 | PE1.2-12 | BearCup 570 & 750S Ventilator | Portalac | PE1.2-12
20003-865 | MB166 | Bio-Hit Pipettes | Master / Varta | 5/V150H no pins
22000-140 | MB167 | Biomed Muscle Stimulator | Master / Sanyo | 7/N600AA
22000-120A | MB251 | Biomed Neonatal 303A | Master | see Critikon 8100 (2 units Required)
22000-132 | MB171 | Biotech 501 | Master / Sanyo | 8/KR1300SC
60000-817A | PS1208 | Bird (T) 15500/15400 Ventilator | Century | PS1208
22000-263 | MB665 | Bird 6800 Volume Monitor | Master / Sanyo | 4/KR1300SC - SAME AS OHMEDA 690/5400
22000-021 | MB168 | BHM Voyager Patient Lifter A8500 | Master | 2/LB-VWVBM10
22000-119 | MB178 | BMD Crossvent 3 Ventilator | Master / Sanyo | 6/KR4400D
22000-119D | MB178D | BMD M10 Ventilator Monitor | Master / Sanyo | 6/KR1400AE
20004-134 | 4918-BP1 | Bohrer Glucometer | Varta | 4918-BP1
22000-012 | MB179A | Bosch Spirometer | Master / Sanyo | 4/KR1800SCE
20003-774A | 4/V80H S+ S- | Breas Medical 401 Ventilator Memory | Varta | 4/V80H S+ S-
46001-564 | LC-R122R2P | Breas Medical 501 Ventilator | Panasonic | Two units Required of LC-R122R2P
20003-863B | 3/V150H D+10mm S- | Breas Medical 501 Ventilator Memory | Varta | Two units Required of 3/V150H D+(10mm), S-
22000-013 | MB180A | Breas Medical 403 Ventilator | Master / Sanyo | 20/HR-4/3AU
22000-351B | MB185 | Burdick Presto Splash Spirometer | Master / Cyclon | 3/0810-0004
22000-350APS | MB186 | Burdick EK10ECG / Elite & Elite 2 | Master / Sanyo | 10/KR1300SC
22000-351 | MB185A | Burdick Eclipse Plus | Master / Sanyo | 14/KR-CH
22000-107 | MB194A | Cardiac Sience PowerHeart CRM | Master / Cyclon | 6/0810-0004
22000-107B | MB194B | Cardiac Sience PowerHeart AED G3 Defibrillator | Master / Saft | 4/LO26SX
46001-548N | LCT-1912NK | Cardiofax & Cardiolife | Matsushita | LCT-1912NK
22000-118 | MB195 | Cardioline Delta 1& 3 ECG | Master / Sanyo | 20/KR900AAEC
22000-117 | MB196 | Cardioline Delta 60+ ECG | Master / Sanyo | 20/N1700SCR
22000-118A | MB197 | Cardioline EP 600 Defibrillator | Master / Sanyo | 16/N600AA
22000-118B | MB198 | Cardioline EP700 Defibrillator | Master / Sanyo | 15/N600AA
22000-118C | MB196A | Cardioline Deltalife 550 Defibrilator Refurbishment | Master / Sanyo | 10/N3000CR
22000-309 | MB596 | Cardiopak 100 | Master / Sanyo | see NEC San-Ei
22000-008 | MB202A | Cas Medical OscilloMate 900 | Panasonic | LC-R064R5P c/w connector
22000-055 | MB209A | Cas Medical 740/940X vital Sign Monitor | Master / Sanyo | 6/HR-4/3AU Insert
60001-122 | MB209 | Chemist Dispensing Probe | Master / Emmerich | 2/Z2A100
22000-005 | MB211 | Clement Suction Pump | Master / Sanyo | 10/KR4400D
22000-005B | MB210A | Clinical Dynamics Smartstat Pulse Oximeter | Master / Sanyo | 16/N1250SCRL
22000-248 | MB210B | Clinical Dynamics NIBP SmartArm GX-02 Simulator | Master / Sanyo | 16/HR-4/5SCU
22000-161 | MB219A | Colin Medical BX-10 Patient Monitor | Master / Sanyo | 10/HR-4/3AU
22000-122 | MB219B | Colin Medical Press-Prodigy II( 2140) Vital Sign Monitor | Master / Cyclon | 3/0800-0004
46001-563 | LC-R121R3P | Contoura 880 Bed | Panasonic | Two units Required of LC-R121R3P
22000-159 | MB217 | Corflo | Master / Sanyo | 6/KR1300SC
22000-153 | MB218A | Corometrics 500EXL Infant monitor | Master / Cyclon | 3/0810-0004
22000-141 | MB223 | Corpak Enternal Feeding pump VTR300 / R200 | Master / Sanyo | 10/KR1300SCT
22000-004B | MB225 | Cosmed K4 Receiver | Master / Sanyo | 4/KR1200AUL
22000-004C | MB226 | Cosmed K4 Transmitter | Master / Sanyo | 5/KR1700AU
22000-004A | MB227 | Cosmed Spirometer Pony - 1 | Master / Sanyo | 4/KR1300SC
22000-004 | MB228 | Cosmed Spirometer Pony - 2 | Master / Sanyo | 2/KR1200AUL x Dual Unit
22000-004FX | MB228FX | Cosmed Pony FX Sirometer 2500mAh | Master / Sanyo | 4/HR-AU
22000-004FXL | MB228FXL | Cosmed Pony FXL Sirometer large Battery 4500mAh | Master / Sanyo | 4/HR-4/3FAU
46001-565 | LC-R123R4P | Criticare 1100 Monitor | Panasonic | LC-R123R4P
22000-121 | MB237 | Criticare 505/507SD Early Models | Master / Panasonic | 2/LC-R064R5PU replaces Powersonic PS1232 195 mm
46001-564 | LC-R122R2P | Criticare 505/507SD Later Models | Panasonic | LC-R122R2P
46001-560A | LC-R064R5P | Criticare CO2 502 / 503 / 504 / 506DX | Panasonic | LC-R064R5P
46001-555 | LC-R061R3P | Criticare Pulse Oximeter (CSI) 503 | Panasonic | LC-R061R3P
60000-014D | NP3.8-6 | Criticare 504DX Portable Pulse Oximeter | Enersys / Genesis | NP3.8-6
22000-121A | MB236 | Criticare Handheld End-Tidal CO2 Monitor | Master / Sanyo | 6/HR-AU
22000-120A | MB251 | Critikon 8100 / 8101 | Master | 2/PS628
46001-550N | LCT-1912ANK | Critikon Pro 100 / Pro 400 & Compact | Matsushita | LCT-1912ANK
46001-550N | LCT-1912ANK | Critikon Plus Vital Signs Monitor | Matsushita | Two units Required of LCT-1912ANK
60000-812A | PS632 | Critikon Dinamap ProCare 300 | Century | PS632
46001-550N | LCT-1912ANK | Critikon Pro 300-400 | Matsushita | LCT-1912ANK
46001-550PL | LB-VWVBM10 | Critikon Dinamap Compact TS | Master | LB-VWVBM10
|  | Critikon Dinamap 633153 MPS | Inspired Energy | M48BA004A
|  | Data Logic Hand Scanner | Master / Emmerich | 2/Z2A110
22000-225 | MB265 | Datascope 3530 | Master / Sanyo | 20/KR4400D
22000-220 | MB266 | Datascope 870 & 871 Monitor | Master / Intech | 10/ET2500D
22000-226A | MB272 | Datascope Defibrillator 014-00-0049 | Master / Sanyo | 10/N1300SCR Refurbishment
46001-575 | LC-RD1217P | Datascope Balloon 90T / 95T / 97 - CS100A | Panasonic | Two units Required of LC-RD1217P
22000-240 | MB273 | Datascope MD3 Monitor / Defibrillator | Master / Sanyo | 22/N1300SCR Refurbishment
22000-309 | MB596 | Datascope MD4 | Master / Panasonic | see NEC San-Ei
46001-550N | LCT-1912ANK | Datascope Passport Monitor | Matsushita | Two units Required of LCT-1912ANK
22000-226 | MB275 | Datascope Pasport Monitor or Defibulator | Master / Sanyo | 10/N1300SCR Refurbishment
46001-550PL | LB-VWVBM10 | Datascope Trio Patient Monitor | Master | LB-VWVBM10
22000-247 | MB278 | Datatrend Systems Oxitest Plus 7 | Master / Sanyo | 6/KR1400AE
46001-560A | LC-R064R5P | Datex SO O2 | Panasonic | Two units Required of LC-R064R5P
46001-555 | LC-R061R3P | Datex AS 3 Power Supply | Panasonic | LC-R061R3P
22000-113 | MB281 | Datex AS 3 Light Monitor | Master / Sanyo | 10/N3000CR Refurb
22000-110 | MB282 | Datex AS3 Compact Portable Monitor | Master / Sanyo | 20/KR1700AU
22000-114 | MB287 | Datex S/5 Patient Monitor F-CMREC | Master / Sanyo | Two units Required of 10/HR4/3 AU
22000-261 | MB674 | Datex -Ohmeda Pulse Oximeter | Master / Sanyo | 8/KR1400AE
22000-264 | MB659 | Datex-Ohmeda 3700E | Master / Cyclon | 4/0810-0004
46001-564 | LC-R122R2P | Datex-Ohmeda 3740 Oximeter | Panasonic | LC-R122R2P
60000-589 | PX12026 | Datex-Ohmeda Cardiograph | GS Portalac | PX12026
22000-185 | MB662 | DatexOhmeda 4700 Oxycap | Master / Cyclon | 6/0810-0004
22000-263 | MB665 | Datex-Ohmeda 690 & 5410/5420 | Master / Sanyo | 4/KR1300SC
22000-262 | MB666 | Datex-Ohmeda 7800 Ventilator | Master / Sanyo | 4/KR1300SC
22000-261 | MB674 | Datex-Ohmeda Oxistat 6050/3770 | Master / Sanyo | 8/KR1400AE
22000-265 | MB286 | Datex Ohmeda 3800/3810/3900P Oximeter | Sonnenschein | A208/2.5S + Connector
22000-112 | MB284 | Datex-Engtrom Light Monitor 893365 | Master / Sanyo | 11/KR1800SCE Refurbishment
22000-109 | MB285 | Datex-Ohmeda S5 Light Monitor FR-LMP1.02 | Master / Sanyo | 8/KR900AAEC & 3/KR900AAEC c/w Connector
22000-108 | MB283A | Datex Ohmeda Infant Warmer | Master / Varta | 56722 MODIFIED
22000-266 | MB288A | Datex Ohmeda BIS A-2000 Monitor | Master / Sanyo | 6/HR-4/5AU
46001-557 | LC-R063R4P | Datex Ohmeda Satelite | Panasonic | LC-R063R4P
60000-589 | PX12026 | Datex-Ohmeda Cardiocap 5 | GS Portalac | PX12026
22000-114A | MB289 | Datex Aestiva 5 Annastetic Servicing | Panasonic | LC-R122R2PU c/w Panelmount fuse
22000-713 | MB290A | DeVilbiss 7305 Suction Unit | Enersys / Genesis | 6/0810-0004
35007-118 | 0809-0012 | Diagnostic Ultrasound BVI2500 | Enersys / Genesis | Monobloc 6V 5Ah 0809-0012
22000-120A | MB251 | Dinamap 8100 | Master | Same as Critikon 8100
46001-550N | LCT-1912ANK | Dinamap Plus vital signs monitor | Matsushita | Two units Required of LCT-1912ANK
46001-550N | LCT-1912ANK | Dinamap Pro 300 - 400 VS monitors (main battery) | Matsushita | LCT-1912ANK
20003-863B | 3/V150H D+10mm S- | Dinamap Pro 300 RAM Battery | Varta | 3/V150H D+10mm S-
60000-812A | PS632 | Dinamap Procare 100-120- 220 -320 -420 | Century | PS632 Terminal position
60000-800A | PS628 | Dinamap XL (9300) | Century | Two units Required of PS628
46001-575 | LC-RD1217P | Drager Evita XL & 2 / 4 & Dura 2 Vent Base Unit | Panasonic | Two units Required of LC-RD1217P
46001-565 | LC-R123R4P | Drager Evita 2/4 Ventilator Internal Battery | Panasonic | Two units Required of LC-R123R4PU
46001-575 | LC-RD1217P | Drager Savina Ventilator (external) | Panasonic | Two units Required of LC-RD1217P
46001-565 | LC-R123R4P | Drager Savina Ventilator (Internal) | Panasonic | Two units Required of LC-R123R4PU
60000-048 | A512/3.5S 07895315 | Drager Evita 2/4 Ventilator Internal Battery | Sonnenschein Dryfit | Two units Required of A512/3.5S
20003-670 | 56722 (bulk) | Drager Evita 2 | Varta | 9 Volt 56722 bulk
32005-100 | CR12600SE | Drager Evita 4 & Julian Ram | Sanyo | CR12600SE
22000-716C | MB298A | Drager Infinity Delta Patient Monitor SC5000/6000/6002 | Master / Sanyo | 8/UR18650FK c/w PCM
|  | Drager Infinity Delta Patient Monitor Extended Life | Panasonic | TBA
46001-566A | LC-R127R2P | Drager Julian | Panasonic | LC-R127R2P
60000-014D | NP3.8-6 | Drager Oximeter | Enersys / Genesis | Two units Required of NP3.8-6
22000-716 | MB302 | Drager Oxylog 200 | Master / Sanyo | 6/N700AACL
22000-716A | MB303 | Drager Oxylog 2000& Microvent | Master / Sanyo | 6/KR1100AAU
88000-150SH | DR202SH | Drager Oxylog 3000 Ventilator | Master | DR202SH
46001-546PL | LB-VWVBF2 | Drager Infinity Gamma | Master | LB-VWVBF2 (LC-SD122PU - LCT-122R8PU)
22000-716B | MB304A | Drager J102 Bili Meter ( Refurbishment) | Master / Sanyo | 4/HF-C1U
22000-297 | MB831 | Dymax Corp Site~Rite Ultrasonic | Master / Sanyo | 12/N3000CR / 2 only SRP200 Refurbishment
60000-802A | PS612 | Engrit EN80 Bed Lifter | Century | Four units Required of PS612
22000-314B | MB315A | EBNEURO Myto Stimulator 2/4 Channel Amplefier | Master / Sanyo | 10/HR-3UTG
60000-036A | A504/3.0S | Emtec Intral Pump | Sonnenschein Dryfit | A500 NGA50403D5(A504/3.0S)
22000-314A | MB313 | Engstrom Elvira Ventilator | Master / Sanyo | 8/N700AACL + 1/N270AA
22000-314 | MB314 | Engstrom Erica Ventilator | Master / Sanyo | 8/KR1300SC
60000-035 | A204/1.0K 07190163 | Enteral pump | Sonnenschein Dryfit | A204/1.0K 07190163
20006-200 | MB316 | Esaote Biomed ECG | Master / Sanyo | 10/N1700SCR
60000-813A | PS1212 | Exmed Ventilator | Century | PS1212
46001-563 | LC-R121R3P | Farish Bissell Industries S1 Enuresis Alarm | Panasonic | LC-R121R3P
22000-154 | MB322A | Fibreoptics Sylvan ILS-101 & IT-101 Infinity transiluminator | Master / Sanyo | 6/N1700SCR
22000-155 | MB323 | FILAC 1010 Themometer | Master / Sanyo | 7/N270AA
22000-156 | MB324 | Filac F1500 thermometer | Master / Sanyo | 2/CR17450SE
22000-175 | MB325 | First Temp thermometer | Master / Intech | 2/ET2500D
30002-716FIM | MB323A | FIM Medical Spirolyser SPL-50 | Master / Sanyo | 6/N700AACL + connector
23000-312 | DR30 | Fisher & Pykel Healthcare Monitor | GP | DR30
46001-563 | LC-R121R3P | Flowcare 800 Enteral Feeding Pump | Panasonic | LC-R121R3P
22000-011 | MB327A | Flowcare Micromax 200i Enteral Feed Pump | Master / Sanyo | 5/KR900AAEC
22000-153A | MB335A | Fresenius Optima Infusion Pump | Master / Sanyo | 5/HR-SCU
22000-494B | MB331 | Fukuda Cardisunny 501B-III | Master / Sanyo | 10/N700AACL
22000-494A | MB332 | Fukada Denshi FCP2201 ECG | Master / Sanyo | 10/KR1800SCE
22000-494 | MB333 | Fukuda Denshi FCP2155 ECG (FX-2111) | Master / Sanyo | 8/HRAAUL
22000-494C | MB333A | Fukuda Denshi Cardimax FX-7402 Refurb | Master / Sanyo | 8/HR4/3AU Refurbishment
22000-494D | MB333B | Fukuda Denshi Cardimax FX-7102 | Master / Sanyo | 8/HR4/3AU
46001-546PL | LB-VWVBF2 | GPS Gamma Positioning Navigator (Isotope Detector) | Master | LB-VWVBF2 (LC-SD122PU - LCT-122R8PU)
35007-155 | G12V26AH10EP | G.E. Portable X-Ray Machine | Genesis | Nine units Required of G12V26AH10EP
60000-014E | PS632 | G.E. Dinamap Procare 300 & 400 | Century | PS632 Note The Terminal position
22000-018 | MB303A | G.E. Portascan Bladder Scanner (PA-00141) | Master / Sanyo | 10/HR-4/3AU
22000-268 | MB340 | Gambro AK 10 Dialysis | Master / Sanyo | 8/N270AA
32005-011 | CR1/3N-FT1 | Gambro AK100 (memory) | Sanyo | CR1/3N-FT1 2 + 1-(10mm)
22000-185 | MB662 | Gambro PD100 | Master / Cyclon | see Datex Ohmeda 4700
22000-313 | MB352 | Gould series 1500/1510 Monitor / Defibrillator | Master / Sanyo | 20/N1300SCR
35007-101 | 0810-0004 | Graseby 3300 / 3400 / 3500 pump | Cyclon | Three units Required of 0810-0004
| TBA | Graseby 3300 Series Harness | Master | Harness & Connectors
46001-563 | LC-R121R3P | Graseby 3M 3000 | Panasonic | LC-R121R3P
60000-591 | PE2.7-12 | Guldmann DH1000 Patient Lifter | President | Two units Required of PE2.7-12
60000-591 | PE2.7-12 | Haycomp Emu & Joey Patient Lifft | President | Two units Required of PE2.7-12
|  | Haemochron |  | see International technidyne
22000-166C | MB371E | Heine 2Z Battery wth Nipple Refurbishment | Master / Sanyo | 2/N600AA
22000-170 | MB371H | Heine X-01.99.333 2.4V | Master / Intec | 2/IC700C
22000-166A | MB371 | Heine X-01.99.433 (cone) | Master / Intec | 2/IC700C Refurbishment
22000-166B | MB371G | Heine BETA NT 3.5V Opthalmascope | Master / Intec | 3/IF800Cs
22000-166 | MB371F | Heine Opthalmascope (cone) | Master / Intec | 3/IC700C Refurbishment (cone)
22000-165A | MB370 | Heine X-02.99.314 Arthroscope | Master / Intec | 3/IC700C (3 side contacts74mm long)
22000-165 | MB370A | Heine X-02.99.380 & 382 | Master / Intec | 3/IC700C (2 side contacts79mm long)
22000-165B | MB370B | Heine X-02.99.106 (Beta) Refurbishment | Master / GP | 3/GP75AAH
22000-169B | MB371A | Heine Accu box Examination X-04.99.623 | Master / Sanyo | 5/N1250SCRL
22000-169 | MB372 | Heine Accu Box Endoscope S10Z | Master / Sanyo | 10/KR600AE Refurbishment or Insert
22000-169A | MB371B | Heine X-04.99.624 Examination Light | Master / Sanyo | 5/KR1700AU Refurbishment
22000-168 | MB371J | Heine X-04.99.641 Accubox II-L | Master / Sanyo | 5/HR-AU Refurbishment
22000-071A | MB371C | Hellige ECG EK 531 | Master / Sanyo | Three units Required of 6/KR1300SC
22000-164 | MB372A | Hemocue 651000 Model B | Master / Sanyo | 5/N600AA
22000-056 | MB378 | Honeywell Monitor / Defibrillator | Master / Sanyo | 10/N3000CR
22000-078 | MB383 | HP Codemaster 100 M2477B Defibrillator | Master / Sanyo | 10/N4000DRL Refurbishment
22000-078A | MB382 | HP CodeMaster 100 M2476B Defibrillator | Master / Sanyo | 10/N3000CR Refurbishment
22000-071 | MB390 | HPM1758A/M1722-M1723-M1724 A&B Codemaster XL Defibrillator | Master / Panasonic | 2/LC-R064R5P
88000-036S-HP | NJ1020HP | HP M3(Viridia) Series Monitor M3046A | Inspired Energy | NJ1020HP
46001-550NAG | MB384 | HP Heart Stream M4735A | Matsushita | LCT-1912ANK Modified (M3516A)
22000-072A | MB394A | HP Heart Stream Forerunner (BT1) | Master / Panasonic | 6/BR2/3A Refurbishment
22000-076 | MB386 | HP O2 Module M1017A | Master / Sanyo | 2/N110AA S+D-10mm
22000-080 | MB387 | HP Pagewriter M1770A,1771A,1772A & 100- 200I -300PI M2460A | Master / Panasonic | LC-R067R2P+Connector & Fuse
46001-561A | LC-R067R2P | HP Pagewriter M1700,1702,1721, ECG | Panasonic | Three Units Required of LC-R067R2P
88000-005PH | NI2040PH | HP Pagewriter Touch | Inspired Energy | NI2040PH
60000-838 | PS1229 | HP Pagewriter Trim | Powersonic | PS1229
46001-550N | LCT-1912ANK | HP Viridia Transport Monitor M1275A | Matsushita | LCT-1912ANK
46001-550N | LCT-1912ANK | HP40488A & M1205A Computer Monitor | Matsushita | LCT-1912ANK
22000-077 | MB392 | HP43120A Defibrillator | Master / Cyclon | 6/0810-0004
22000-079 | MB393 | HP4745A Pagewriter 2 | Master / Sanyo | 3/N600AA
22000-072 | MB394 | HP68671 | Master / Intech | 10/ET2500D Refurbishment
22000-072B | MB395 | HP68671 / 78660 Monitor / Defibrillator | Master / Intech | 10/ET2500D Insert
22000-075 | MB396 | HP78350B | Master / Intech | 20/ET2500D Refurbishment
35008-360 | MB397 | HP78350B | Master / Intech | 20/ET2500D Insert
22000-073 | MB398 | HP78554A | Master / Sanyo | 6/KR-AAH
22000-074 | MB399 | HP78620A | Master / Sanyo | 10/KR4400D Refurbishment
46003-203A | A133-BP1 | HP8040 Foetal monitor | Exell | (PX21) A133
32000-010 | LR1-SP2 | HP C.T.G. Monitor | Sanyo | LR1-SP2
85000-245NFH | CR2450NFH-LF | HP Heartstart 3000 CLOCK Battery | Renata | CR2450NFH-LF S+S-(20mm)
46003-203A | A133-BP1 | HP 8040 CTG Memery Batt | Exell | (PX21) A133
60000-016YUASA | NP24-12B | Humidicrib Incubator | Yuasa | NP24-12B
22000-027 | MB401B | Huntleigh Alpha X Cell Mattress Pump | Master / Varta | 4/V40H
22000-080A | MB401A | Huntleigh Diagnostics Doppler Assist | Master / Sanyo | 7/HR-4/3AU Referbishment
30000-303 | KR1800SCE | Hytech Baby Scales | Sanyo | Four units Required of KR1800SCE PCB S+, S-
46001-562A | LC-R0612P | Imed 800/900/928 Infusion Pump | Panasonic | LC-R0612P
22000-307 | MB404 | Imed 350 controller | Master / Cyclon | 3/0810-0004+4/N270AA
22000-306 | MB405 | Imed 915 infusion pump | Master / Cyclon | 6/0810-0004
46001-562A | LC-R0612P | Imed Gemini PC-2 Channel Infusion Pump 1320 | Panasonic | LC-R0612P
46001-565 | LC-R123R4P | Imed Gemini PC-4 Channel infusion Pump | Panasonic | LC-R123R4P
46001-561A | LC-R067R2P | Imed Gemini PC-1 Infusion Pump 1310 | Panasonic | LC-R067R2P
46001-562A | LC-R0612P | Imed Gemini PC-2 Infusion Pump | Panasonic | LC-R0612P
46001-562A | LC-R0612P | Imed Gemini PC-2TX Infusion Pump | Panasonic | LC-R0612P
20003-774D | 4/V80H D+10mm S- | Imed Gemini PC-1 & PC-2 infusion Pump RAM | Varta | 4/V80H D+10mm S-
46001-565 | LC-R123R4P | Imed PC-4XL | Panasonic | Two units Required of LC-R123R4P
22000-306X | MB413 | Imex Freedrop Foetal Doppler Hand Piece | Master / Varta | 6/V250H conn
22000-306Y | MB413A | Imex Freedrop Foetal Doppler Base Unit | Master / Varta | 10V250H conn
22000-390 | MB422 | Infrasonic Infant Star Ventilator | Master / Cyclon | 5/0810-0004 + Conn
22000-391 | MB423 | Infrasonics Adult Star 1010, 1500 Ventilator | Master / Panasonic | LC-R127R2P + connectors & fuse
22000-390A | MB421A | Infrasonics Star Sync Module | Master / Sanyo | 4/N110AA S+S-
22000-145A | MB425B | International Tecnidyne Hemochron Junior | Master / Sanyo | 6/N600AA
22000-145 | MB425 | International Tecnidyne Hemochron Junior No I | Master / Sanyo | 7/KR900AAE
22000-145B | MB425C | International Tecnidyne Hemochron Junior No II | Master / Sanyo | 7/HR-AAU Refurbishment
22000-142 | MB426 | International Tecnidyne Hemochron 400 | Master / Sanyo | 5/KR1300SC
22000-143 | MB427 | International Tecnidyne Hemochron 401 | Master / Sanyo | 6/KR1800SC
22000-143A | MB428 | International Tecnidyne Hemochron 800 | Master / Intech | 6/ET2500D
35007-104 | 0819-0010 | Invivo 4500 Pulse Oximeter | Cyclon | Two units Required of Monobloc 4V 2.5Ah 0819-0010
46001-566D | LC-R127R2P1 | Invivo MRI 3150M Patient Monitor | Genesis | Four units Required of LC-R127R2P1
60000-016YUASA | NP24-12B | Isolette Infant Portable Incubator | Yuasa | NP24-12B
20003-987ISO | MB437 | Isolette Infant Humidicrib C400 | Master / Varta | 7/V350H D+D-10mm 3mm elevated
46001-557 | LC-R063R4P | Ivac P2000 / P3000 | Panasonic | LC-R063R4P
22000-086 | MB439 | Ivac 531 | Master / Sanyo | 10/N600AA with endcaps
22000-131 | MB440 | Ivac 560 / 565 / 570 / 710 without housing | Master / Cyclon | 6/0810-0004
22000-105 | MB440A | Ivac 560 / 565 / 570 / 710 Insert | Master / Cyclon | 6/0810-0004
46001-557 | LC-R063R4P | Ivac 581 / 591 & 3000 Infusion Pump | Panasonic | LC-R063R4P
46001-557 | LC-R063R4P | Ivac P.Cam Syringe Pump | Panasonic | LC-R063R4P
22000-130B | MB442 | Ivac 630 / 631 | Master / Sanyo | 10/N1300SCR
22000-264 | MB659 | Ivac 700 | Master / Cyclon | 4/0810-0004 c/w Connector (Swap)
22000-127 | MB445 | Ivac 770 | Master / Sanyo | 4/N50AAA
60000-812A | PS632 | Ivac ICI & TIVA Syringe pump | Century | PS632
22000-120A | MB251 | Ivy 303A & 401 / 402 ECG Monitor | Master | see Criticon 8100
46001-561A | LC-R067R2P | Ivy 702 ECG Monitor | Panasonic | LC-R067R2P
| TBA | Ivy 705 | Master / Panasonic | 3/LC-S044R1PU
20003-965JED | MB461 | Jedcom Artificial Layrynx | Master / Varta | 5/CP300H
22000-016 | MB258 | Jostra RFC20 Rotaflow Heart Pump | Master / Sanyo | 20/KR5000DEL
22000-017 | MB260 | JMS HS21Tube sealer | Master / Sanyo | 20/HR-AAUL
46001-564 | LC-R122R2P | KCI Respirator | Panasonic | LC-R122R2P
20003-863B | 3/V150H D+10mm S- | KCI Sure V2 Matrass | Varta | 3/V150H D+10mm S-
22000-007K | MB463K | KCI Mini V.A.C. | Master / Sanyo | 10/HR-4/5AU
22000-007L | MB462L | KCI ATS V.A.C.M6257755 | Master / Sanyo | 10/HR-4/3AU
22000-170K | MB463 | Keeler Opthalmascope | Master / Intec | 3/IC700C
22000-170L | MB464A | Keeler Vantage Indirect Opthalmascope | Master / Sanyo | 5/KR1300SC Refurbishment
22000-007 | MB466 | Kenz ECG-103 | Master / Sanyo | 18/HF-A1U
22000-007A | MB466A | Kenz ECG-107 | Master / Sanyo | 18/KR600AAL
22000-007B | MB466B | Kenz ECG Cadico 302 | Master / Sanyo | 10/HR-4/5AU
46001-566A | LC-R127R2P | Kimal Filtration System | Panasonic | LC-R127R2P
60000-820 | PS605WL | Kontron (Arrow) Balloon Pump Simulator | Powersonic | PS605WL
22000-133 | MB470 | Kontron 504 | Master / Sanyo | 20/KR1300SC Refurbishment
46001-566A | LC-R127R2P | Kontron Microgas TCM Monitor | Panasonic | LC-R127R2P
22000-413 | MB488 | Kowa Lamp | Master / Sanyo | 6/HR-4/5AU Refurb
22000-134 | MB488A | Labsystem FinnPipette | Master / Sanyo | 3/HF-B1U
22000-180 | MB499 | Laerdal Suction Pump | Master / Sanyo | 5/N1300SCR x Dual Unit
46001-563 | LC-R121R3P | Laerdal Suction Mini & Compact Pump (880001) | Panasonic | LC-R121R3P
46001-548N | LCT-1912NK | Laerdal Heartstart 911-3000-300QR (901100) | Matsushita | LCT-1912NK
46001-550N | LCT-1912ANK | Leardal Heartstart 4000 | Matsushita | LCT-1912ANK
46001-550N | LCT-1912ANK | Leardal LSU | Matsushita | LCT-1912ANK
85000-245NFH | CR2450NFH-LF | Laerdal Heartstart Clock | Renata | CR2450NFH-LF S+S-(20mm)
22000-713 | MB290A | Laerdal LCSU 880020 Suction Unit | Master / Cyclon | 6/0810-0004
22000-009 | MB499A | Laryngoscope non magnetic MRI Large handle | Master / Sanyo | 2/CR23500SE
22000-009A | MB499B | Laryngoscope non magnetic MRI Small handle | Master / Varta | 2/CRAA
32005-115MRI | MB499C | Laryngoscope MRI Replaces Varta 1010 Eveready 8 | Master / Sanyo | CR23500SE Special Construction
22000-144A | MB500 | Laserex LTU-904Infrared | Master / Sanyo | 6/HR-AAAU
|  | LIFEPAK see PHYSIO CONTROL |  | see Physio Control Section
22000-149 | MB515 | Lite Guard 6 Recorder / Printer | Master / Sanyo | 20N500AR Refurbishment
22000-151 | MB516 | Lite Guard 6 Monitor / Defibrillator | Master / Sanyo | 20N500AR Refurbishment
|  | Lifecare International INC |  | see Respironics
|  | Lifecare 3 |  | see Oximetric 2/3
|  | Lifecare PCA 4 / 4200 / 5000 |  | see Abbots 4
46001-555 | LC-R061R3P | Linak/Joyce Hospital Bed Head Lifter | Panasonic | Four units Required of LC-R061R3P
60000-591 | PE2.7-12 | Linak Patient Hoist (Part BAJ-00-01) | President | Two units Required of PE2.7-12
60000-591 | PE2.7-12 | Linak/Haycomp Models: Emu & Joey | President | Two units Required of PE2.7-12
22000-299L | MB510A | Linvatec Hall Surgical Sternum Blade | Master / Sanyo | 8/CP1700SCR Refurbishment
46001-557 | LC-R063R4P | Macquarie CT100 / CT200 Electrocardiograph | Panasonic | LC-R063R4P
22000-090B | MB521B | Mansell Transport Systems Power Lifter | Master / Cyclon | 6/0800-0004
22000-090A | MB614A | Mansell Neocot Transport System (Incubator) | Master / Cyclon | 6/0850-0004 Board fuse + connec
60000-800A | PS628 | Marquette CT200 ECG | Century | PS628
22000-149A | MB522 | Marquette 009/ 00310/ 24v | Master / Sanyo | 20/N500AR Refurbishment
22000-089B | MB523 | Marquette 009/ 00970/ 24v | Master / Sanyo | 20/KR1300SC Refurbishment
22000-089A | MB524 | Marquette Responder 3000 | Master / Sanyo | 10/KR-CH Refurbishment
22000-081A | MB524A | Marquette 409366-001 | Master / Sanyo | 20/KR1800SCE Refurbishment
22000-084B | MB530B | Marquette Eagle 1000 (old) | Master / Sanyo | 10/KRCH c/w plug Refurbishment
22000-082 | MB526 | Marquette Monitor Eagle 4000 | Master / Sanyo | 10xKRCH
22000-082A | MB527 | Marquette Monitor Eagle 4000 | Master / Sanyo | 10/N3000CR
22000-083 | MB529 | Marquette MAC 8 & Max Personal | Master / Sanyo | 16xKR-DHL
22000-084 | MB530 | Marquette MAC Pc & 6 | Master / Sanyo | 16xKR1300SCT
22000-089 | MB530A | Marquette MAC PAC 5000/5500/3500 | Master / Sanyo | 15/HR-4/3AU Refurbishment
35007-150 | G12V13AH10EP | Marquette MACVU ECG | Genesis | Two units Required of G12V13Ah10EP
46001-567A | LC-RA1212P1 | Marquette MACVU ECG old model | Panasonic | Two units Required of LC-RA1212P1
22000-081 | MB532 | Marquette SCP912 Defibrillator | Master / Sanyo | 15/N600AA c/w dummy cell
22000-081B | MB532B | Marquette SCP913 / 915 / 922 Defibrillator | Master / Sanyo | 10/KR-SCH Refurbishment
32000-081 | MB533 | Marquette Smart PAC/ 2 Transport Monitor | Master / Sanyo | 10/N3000CR Refurbishment &Train Board
22000-088A | MB534 | Marquette Telemetry Central Station | Master / Sanyo | 3/KR600AE
88000-005L | LCB1L | Marquette Dash Pro Monitor 2, 3, 4k | Master | DR201S (LCB1L)
88000-005L | LCB1L | Marquette Dash 3000/4000 | Master | DR201S (LCB1L)
22000-083A | MB528A | Marquette Dash 2000 Pro Monitor | Master / Sanyo | 10/KR-CH Refurbishment
22000-085 | MB525 | Marquette Case 16 | Master / Sanyo | 3/KR600AE + Connector
22000-085A | MB525C | Marquette Cardiosmart ST MAC1200ST ECG | Master / Sanyo | 15/N1300SCR without connector
22000-088 | MB533A | Marquette Solar 9500 | Master / Sanyo | 11/KR1400AE without bracket
| M48BA004A | Marquette Dinamap 633153 MPS | Inspired Energy | M48BA004A
46001-564 | LC-R122R2P | Medielectrics patient Lifter | Panasonic | LC-R122R2P
22000-060 | MB559 | Mediwatch Portaflow | Master / Sanyo | 8/HR-4/3AU
22000-280 | MB560 | Medtel 009-080 | Master / Cyclon | 9/0810-0004 Refurbishment
22000-279 | MB561 | Medtel DF5 Defibrillator | Master / Sanyo | 20/KR1300SC
22000-278 | MB562 | Medtel HS10 Cardiac Monitor | Master / Cyclon | 8/0800-0004
22000-014 | MB563 | Medtronic CardioRhythm | Master / Panasonic | LC-R127R2P Refurbishment
22000-015 | MB564 | Medtronic Lifepak 20 Defibrillator | Master / Sanyo | 10/HR-SCU
|  | Medtronic |  | see Physio Control Section
22000-015A | MB549A | Mekusa MP110 Pulse Oximeter | Master / Sanyo | 5/HR-AAU
22000-173 | MB568 | Mela Defibrillator | Master / Sanyo | 10/KR1300CSC
22000-174 | MB572 | Mentor Brightness Acuity Tester | Master / Intec | 4/IC700C c/w side contact
60000-817A | PS1208 | Metron Accutrac Traction AT200 | Century | PS1208
20003-775B | MB574 | Micrel syringe driver | Master / Varta | 5/V80H
22000-136E | MB576 | Micromedical Microlab MLA200&3300 spirometer | Master / Sanyo | 6/KR600AE 2way connector
22000-136A | MB578 | Micromedical MLA 4303 Spirometer | Master / Sanyo | 6/KR600AE 3way connector
22000-136B | MB578A | Micromedical MLA 5009 Spirometer | Master / Sanyo | 6/KR600AE 3way connector
22000-136D | MB576B | Micromedical Sensor NOX Bias Batt | Master / Maxell | ER17/33#5TC + connector
22000-136 | MB577 | Micromedical Sensor NOX Printer | Master / Sanyo | 6/KR600AE 2 way connector
22000-137 | MB579 | Microtest Scanner | Master / Sanyo | 6/KR1100AAU
46001-555 | LC-R061R3P | Mindray PM600 Patient Monitor | Panasonic | Two units Required of LC-R061R3P
60000-020 | NP5-12 | Minilab 1052 Doppler | Genesis | NP5-12
22000-294 | MB68 | Minolta Jaundice 101 | Master / Sanyo | 4/N270AA
22000-295A | MB68A | Minolta Jaundice JM102 | Master / Sanyo | 4/HF-E5U
22000-295 | MB581 | Minolta Pulsox-7 O2 Monitor | Master / Sanyo | 6/KR1200AAE+plug
60000-804 | PS610 | Mortara Multichannel ECG | Powersonic | PS610
20003-950NCH | MB588A | NCH Enuresis Alarm | Master / Varta | 10/V250H stack c/w ring tags
22000-309 | MB596 | NEC San-Ei | Master / Panasonic | 10/N3000CR refurbishment
46001-565 | LC-R123R4P | Nellcor Ultra Cap N6000 | Panasonic | LC-R123R4P
46000-009 | BR1225 | Nellcor 3100NB | Panasonic | BR1225
22000-308 | MB600 | Nellcor N10 | Master / Sanyo | 5/N600AA
22000-311 | MB601 | Nellcor N100 | Master / Cyclon | 6/0810-0004
46001-550PL | LB-VWVBM10 | Nellcor N180 Pulse Oximeter | Master | LB-VWVBM10
22000-310 | MB604 | Nellcor N200 Oximeter | Master / Cyclon | 3/0810-0004
22000-308A | MB605A | Nellcor Oximeter Capnograph NPB-75 | Master / Sanyo | 6/HR-AU Refurbishment
60000-014YUASA | NP4-6 | Nellcor N290 / 295 / 395 /595 NPB-190 | Yuasa | NP4-6
60000-592 | PE1.2-12 | Nellcor N550 Pulse Oximeter | Portalac | PE1.2-12
22000-310A | MB602 | Nellcor N560 Pulse oximeter | Master / Sanyo | 8/HR-4/3AU
35007-119 | 0859-0012 | Nellcor NPB 4000 Vital Sign Monitor | Enersys / Cyclon | Monobloc 6V 8Ah 0859-0012
46001-560A | LC-R064R5P | Nellcor Puritan Bunnet Monitor | Panasonic | LC-R064R5P
46001-566D | LC-R127R2P1 | Nellcor Puritan Bunnet 640/840 Ventilator | Panasonic | Two units Required of LC-R127R2P1
46001-563 | LC-R121R3P | Nellcor N500 Puse Oximeter | Panasonic | LC-R121R3P
60000-018YUASA | NP2-12 | Nellcor symphony N3000 | Yuasa | NP2-12
22000-002 | MB614 | Neotrak 502 | Master / Cyclon | 3/0810-0004
22000-631 | MB615 | Neurocontrol External Freehand Controller | Master / Sanyo | 10/N600AA + Connector
60000-020 | NP5-12 | Newport HT50 ventilator | Genesis | NP5-12
22000-002N | MB617A | Nidek KM-500 Keratometer | Master / Sanyo | 5/KR1100AEL
80001-160 | VBL160-BP1 | Nidek AR-20 Auto Refractometer | Master / Sanyo | VBL160-BP1
22000-293B | MB636A | Nihon Kohden OLV1100 Pulse Oximeter | Master / Sanyo | 10/KR1200AAE
22000-293A | MB635 | Nihon Khoden BSM2300 Series Bedside Monitor | Master / Sanyo | 10/HR-4/3FAU
22000-293 | MB632 | Nihon Kohden TEC2851K (Lifescope7) NKB101 | Master / Sanyo | 10/N1700SCR Refurbishment
22000-291 | MB633 | Nihon Kohden TEC5200 Defibrillator | Master / Sanyo | 2x5/N3000CR
22000-290 | MB634 | Nihon Kohden TEC5200 Monitor | Master / Sanyo | 10/N1300SCR
46001-548N | LCT-1912NK | Nihon Khoden QEC6120K Vital Sign Mon | Matsushita | LCT-1912NK
46001-548N | LCT-1912NK | Nihon Kohden 6551 ECG | Matsushita | LCT-1912NK
22000-292 | MB625 | Nihon Kohden 6851/6851k ECG | Master / Sanyo | 10/N600AA
46001-548N | LCT-1912NK | Nihon Kohden TEC7100 /7200Defib' | Matsushita | LCT-1912NK
46001-551N | LC-S2912NK | Nihon Kohden CardiolifeTEC7511-7521-7431 ECG9320 | Matsushita | LC-S2912NK
60000-591 | PE2.7-12 | Nihon Kohden CardiolifeTEC7511K | President | PE2.7-12
22000-290A | MB638A | Nihon Kohden TEC5500/7600/7700 (NKB-301V) Cardiolife | Master / Sanyo | Defibrillator Refurbishment 10/HR-SCU
46001-548N | LCT-1912NK | Nihon Khoden 8110 Cardiofax EKG | Matsushita | LCT-1912NK
46001-555 | LC-R061R3P | Nonin 8700 / 8800 | Panasonic | LC-R061R3P
22000-001 | MB637 | Nonin 8600 / 8604D / LR65946 Pulse Oximeter | Master / Sanyo | 5/KR1300SC
22000-001A | MB640A | Nonin 2120 Pulse Oximeter & Avant 9000 | Master / Sanyo | 6/HR-4/3AU
22000-001N | MB640N | Nomad Nebuliser Pump | Master / Sanyo | 10/N1300SCR
60000-020 | NP5-12 | Novametrix 7000 | Genesis | NP5-12
46001-564 | LC-R122R2P | Novametrix Oxy-Pleath | Panasonic | LC-R122R2P
46001-564 | LC-R122R2P | Novametrix CO2 Monitor | Panasonic | LC-R122R2P
23000-312 | DR30 | Novametrix 610C Capnograph | GP | DR30
46001-564 | LC-R122R2P | Novametrix Pulse Oximeter 505 / 515 | Panasonic | LC-R122R2P
23000-312 | DR30 | Novametrix 715 Pulse Oximeter | GP | DR30
23000-312 | DR30 | Novametrix Tidalwave monitor | GP | DR30
60000-014D | NP3.8-6 | Novametrix Pulse oximeter | Enersys / Genesis | NP3.8-6
46001-564 | LC-R122R2P | Novametrix Pulse Oximeter Mars / Cosmos | Panasonic | LC-R122R2P
32005-098 | CR123AS-BP1 | Novametrix Ram | Sanyo | CR123AS-BP1
46001-557 | LC-R063R4P | Novametrix 500 | Panasonic | LC-R063R4P
|  | Ohmeda |  | See Dated Ohmeda
22000-142 | MB426 | Olympic Medical Translite (as Heamochron 400) | Master / Sanyo | 5/KR1300SC
22000-184 | MB690 | Omega 5600 | Master / Cyclon | 2/0819-0010
22000-028 | MB686A | Omron HEM-907 Blood Pressure Monitor | Master / Sanyo | 4/HR-AAU
46001-585A | LC-XC1228P | Operating Table Elevator | Panasonic | LC-XC1228P
22000-188A | MB687B | Oxford Holter FD-02/FD-03 | Varta | 3/V150H c/w PCB Wires
46000-008HM5 | CR1220-1HF | Oxford Holter Monitor | Panasonic | CR1220-1HF
22000-186 | MB688 | Oximetric 2/3 | Master / Cyclon | 3/0810-0004
22000-315 | MB23 | Oximetric 4 | Master / Cyclon | see Abbots 4
22000-184 | MB690 | Oximetric 4500 Invivo | Master / Cyclon | 2/0819-0010
22000-188 | MB687A | Oxford Sonicad421 Foetal doppler | Varta | 10/V250H
22000-189 | MB797 | Oxyshuttle Pulse Oximeter | Master / Intech | 8/ET2500D
88000-150SH | DR202SH | Oxylog 3000 | Master | DR202SH
22000-202 | MB698 | Palco Pulse Oximeter 340 | Master / Sanyo | 6/KR1200AAE+plug
22000-202B | MB698B | Palco Pulse Oximeter 5340V | Master / Sanyo | 6/KR1200AAE
22000-202A | MB698A | Palco Pulse Oximeter 400 | Master / Sanyo | 10/KR900AAEC
22000-192 | MB699 | Pantridge 280 | Master / Sanyo | 20/N600AA
30000-345 | KR-CH Tagged | Parker Healhcare OX- 60+ Oxygen Monitor | Sanyo | KR-CH Tagged
20003-340CASE | MB711 | Parks 811 Doppler | Master / Varta | 10/CP300H encapsulated in Varta Case with miniature snap
22000-092 | MB715A | Pascal Medical Meniette 20 Ear Pressure | Master / Sanyo | 8/HR-AAAU
|  | Philips |  | See Also HP & Agilent
22000-078 | MB383 | HP Codemaster 100 M2480B Defibrillator | Master / Sanyo | 10/N4000DRL Refurbishment
30008-132P | MB41B | Philips Avalon CTS Telemetry | Master / Sanyo | 1/UF653048P
60000-020 | NP5-12 | Philips C3 Patient Monitor | Genesis | NP5-12
88000-036S-HP | NJ1020HP | Philips Viridia M3046A Patient Monitor | Inspired Energy | NJ1020HP
88000-036S-HP | NJ1020HP | Philips M3 & M4 Patient Monitor (M3046) | Inspired Energy | NJ1020HP
46001-560A | LC-R064R5P | Philips A1 Vital Sign Monitor | Panasonic | LC-R064R5P
35007-119 | 0859-0012 | Philips M3927A/M3928A A3 Vital Signs Monitor | Enersys/Genesis | 0859-0012
88000-005AG | NI1030AG | Philips M2636-605-00 Telemon B patient Mon(M4709A)9DR35S) | Inspired Energy | NI1030AG/NI1030PH
46001-550NAG | MB384 | Philips Heartstart 3000/QR-911(901100) | Matsushita | LCT-1912ANK Modified (M3516A)
46001-550NAG | MB384 | Philips Heartstart 4000/XL M4735A (M3516A) | Matsushita | LCT-1912ANK Modified (M3516A)
22000-072A | MB394A | Philips Heart Stream Forerunner (BT1) | Master / Panasonic | 6/BR2/3A Refurbishment
88000-036HD | NI2020ED26 | Philips Intellivue MP20/30/40/50 Patient Monitor (M4605A) | Inspired Energy | NI2020ED26
46001-550N | LCT-1912ANK | Philips V24/V26 Patient Transport Monitor | Matsushita | Two units Required of LCT-1912ANK
22000-530A | MB712A | Philips Heartstream FR2 | Master / Sanyo | 12/CR123A Refurbishment
22000-531A | MB712E | Philips Trim ECG Model 860286 | Master / Panasonic | Refurbishment LC-R122R2PU
88000-150S | DR202S | Philips Sure Signs VM4 patient Monitor | Master | DR202S
22000-106 | MB722A | Philips MRx Defibrillator 14.8V 6.0AH Li-Ion M3538A | Philips | M3538A
22000-116 | MB722 | Physio control Lifepak 4 | Master / Sanyo | 10/N4000DRL
22000-048 | MB724 | Physio Control Lifepak 5 Standard | Master / Sanyo | 10/KR1300SC
22000-026A | MB726 | Physio Control Lifepak 6 & 7 Defibrillator | Master / Sanyo | 10/KR1300SC
22000-061 | MB727 | Physio Control Lifepak 6 & 7 Monitor | Master / Sanyo | 12/KR-CH
22000-065A | MB728 | Pysio Control Lifepak 8 Defibrillator | Master / Sanyo | 2x5/N3000CR
22000-068 | MB729 | Physio Control Lifepak 8 Monitor | Master / Intech | 2x8/ET2500D
22000-069 | MB730 | Physio Control Lifepak 9 Monitor / Defibrillator | Sonnenschein Dryfit | 2xA208 Battery +poly & connector
22000-069A | MB731 | PhysioControl Lifepak 9 Monitor / Defibrillator | Master / Cyclon | 8/0810-0004 +poly & connector
22000-047 | MB723 | Physio control Lifepak 10&11 Fast Charge | Master / Sanyo | 10/N1300SCR
22000-047A | MB723A | PhysioControl Lifepak 12 FASTPAK | Master / Sanyo | 10/N1700SCR (REF9-10424-18)
22000-003A | MB732 | PhysioControl Lifestat 100 | Master / Cyclon | 4x0810-0004+plug/tlk
22000-003 | MB733 | PhysioControl Lifestat 200, Lifestat 1600 Pulse Oximeter | Master / Cyclon | 4/0810-0004+plug/tlk
22000-070 | MB725 | Physio Control Lifepak 500 Defibulator 12V Lithium | Master / Saft | 4/LO26SX Refurbishment
22000-070B | MB725A | Physio Control Lifepak 500 Defibulator 8V SLA | Master / Cyclon | 4/0810-0004 Refurbishment
22000-070A | MB734 | Physio Control Lifepak 300 Defibulator | Master / Panasonic | 2/LC-R063R4P Refurbishment
46001-566A | LC-R127R2P | VSM 11/ESF Vital signs monitor | Panasonic | LC-R127R2P
22000-070C | MB735 | Physio Control VSM1 Monitor | Master / Cyclon | 9/0810-0004
22000-251 | MB740 | PLA Foetal Detector | Master / Sanyo | 8/N600AA+dummy cell
22000-170Q | MB921E | Propper Otoscope same as welsch 72200 | Master / Sanyo | 3/HR-4UTG (side contacts)
22000-091 | MB921A | Pulmonetic Systems LTV 1000 | Panasonic | 2/LC-R064R5P
46001-567A | LC-RA1212P1 | Pulmonetic Systems LTV 1000 Add on | Panasonic | LC-RA1212P1
10001-100HA | PM9100HA | Pressure & Vacuum Calibrator PM9001HA (all engineering units) | Lutron | PM9100HA
60000-014D | NP3.8-6 | Pro_Med patient lifter Jay-Lift | Enersys / Genesis | Four units Required of NP3.8-6
60000-020 | NP5-12 | Pro_Med Omega 300patient lifter | Enersys/Genesis | Two units Required of NP5-12
60000-037 | A208/2.5S 07190268 + Clear Heatshrink | Propaq 206EL | Sonnenschein Dryfit | Two units Required of A208/2.5S + Clear Heatshrink 140wx80L
22000-203 | MB740A | Protocol Propaq Portable Monitor 102 / 106 | Sonnenschein Dryfit | 8Volt 2/A208/2.5S+ connector
22000-203A | MB740B | Protocol Propaq Portable Monitor 102 / 106 | Sonnenschein Dryfit | 8 Volt 2/A208/2.5S Insert shrink supplied
22000-204 | MB751 | Quick Pace Physio Control | Master / Cyclon | 4/0810-0004
22000-659 | MB753 | Radical Masimo SET V4 Pulse O2 | Master / Sanyo | 4/HR-AAU Refurbishment
22000-656 | MB755 | RadiometerCopenhagen Transcutaneous O2 MonTCM3 | Master / Sanyo | 6/CP2400SCR Refurbishment
60000-802A | PS612 | Radiometer Copenhagen Tube Sealer | Century | Two units Required of PS612
46001-555 | LC-R061R3P | Radiometer Pulse Oximeter | Panasonic | Two units Required of LC-R061R3P
46001-564 | LC-R122R2P | Radiometer Microgas TEC 7650 | Panasonic | LC-R122R2P
22000-657 | MB756 | Ramsey Coote Enuresis Alarm | Master / Sanyo | 6/N700AACL
22000-657A | MB757 | Ramsey Coote Fluorecent Lamp | Master / Sanyo | 6/N600AA
22000-097A | MB758A | Reister Opthalmascope | Master / Sanyo | 2/N600SCR
22000-207 | MB759 | Respironics PLV-100 / 102 Ventilator | Master / Cyclon | Pair 3/0810-0004
22000-097B | MB758B | Respironics BIPAPA Ventilator Support System | Master / Sanyo | 3/N110AA stick pack Single wire PCB
22000-206 | MB762 | RMD Instruments Navigator Gamma Guidance System | Master / Sanyo | 9/N3000CR
46001-546PL | LB-VWVBF2 | RMD Instruments Navigator GPS (PBA50) | Master | LB-VWVBF2 (LC-SD122PU - LCT-122R8PU)
22000-206A | MB762A | RN Plus Systems RN+BPS10RF | Master / Sanyo | 6/HR-AAAU
22000-205 | MB763 | Roche 2000 Fetasononde | Master / Sanyo | 12/KR1300SC
60000-817A | PS1208 | Sunrise patient Lifter | Century | Two units Required of PS1208
46001-565 | LC-R123R4P | Sunrise patient Lifter EMD 1800 | Panasonic | Two units Required of LC-R123R4P
22000-300 | MB770 | S&W 88357-9 | Master / Intech | 10/ET2500D
22000-303 | MB771 | S&W Defi-2 | Master / Sanyo | 10/N1300SCR
22000-301 | MB773 | S&W DMS600 Mon/Defib | Master / Sanyo | 16/KR1300SC
22000-302A | MB772 | S&W Medico | Master / Sanyo | 10/N1300SCR Refurbishment
22000-302 | MB774 | S&W Simonson Wheel ext card P | Master / Sanyo | 10/KR5000DEL
22000-249 | MB775A | ScanMed Medical Tourniquet Model 400-40 | Master / Sanyo | 10/KR1800SCE
22000-249A | MB776A | ScanMed Medical Tourniquet AB | Master / Sanyo | 10/HRAAUL Refurbishment
46001-563 | LC-R121R3P | Schiller AT-1 ECG | Panasonic | LC-R121R3P
46001-564 | LC-R122R2P | Schiller AT-2 ECG | Panasonic | LC-R122R2P
22000-304A | MB782 | Schiller AT-10 ECG | Master / Century | PS1208 12V c/w leads & connector
22000-304 | MB783 | Schiller AT 4 & 5 ECG | Master / Sanyo | 8/HRAAUL
30002-556 | MB783A | Schiller AT 104 ECG | Master / Sanyo | 6/N600AA
22000-304B | MB784 | Schiller ECG AT 3/1 | Master / Sanyo | 8/N600AA
60000-801A | PS640 | Schiller ARGUS VCM Patient Monitor | Century | PS640 hight must be 101mm or less
60000-589 | PX12026 | Schiller AT-102 ECG | Portalac | PX12026
22000-472 | MB789 | Sea & Sea YS150/YS250 | Master / Sanyo | 6/KR1800SCE
30001-215 | MB932 | Sebra Tube Sealer 2380 | Master / Sanyo | 10/N3000CR
30001-217 | MB792 | Seca 944/954 Weighing Chair | Master / Sanyo | 6/N700AACL
30002-718 | MB792A | Seca 944 Weighing Chair old model | Master / Sanyo | 8/N700AACL
30000-110 | N600AA | Seca 727 Baby Scales | Sanyo | Six units Required of single N600AA
30001-217A | MB793A | Seca 727 new Baby Scales | Master / Sanyo | 6/HR-4/5AAU
30003-856 | MB794 | Sensormedics 767581 | Master / Panasonic | 6/N3000CR
22000-178 | MB796 | Sensormedics fastrace | Master / Sanyo | 8/KR900AAEC
22000-189 | MB797 | Sensormedics Oxyshuttle | Master / Intech | 8/ET2500D
60000-817A | PS1208 | Sensormedics SomnoStar Patient Monitor | Century | PS1208
22000-179 | MB798 | Sensormedics Sattrac PulseO2 | Master / Sanyo | 6/N3000CR
20003-946M | MB800 | Servox Artificial Larynx | Master / Varta | 6/V250H stack
46001-555 | LC-R061R3P | Sherwood Kangaroo (older model) | Panasonic | LC-R061R3P
22000-319 | MB805 | SherwoodKangaroo 2,22 | Master / Sanyo | 10/N600AA
22000-319A | MB806 | Sherwood Kangaroo 2100 & Pet | Master / Sanyo | 3/KR1800SCE
22000-317 | MB807 | Sherwood Kangaroo 224/324 | Master / Sanyo | 6/KR1300SC
22000-316 | MB808 | Sherwood Kangaroo 330 | Master / Sanyo | 10/KR1300SC
22000-318 | MB809 | Sherwood Kangaroo K22 | Master / Sanyo | 10/KR1300SC
22000-316A | MB810 | Sherwood Kangaroo 624 & Control | Master / Sanyo | 6/HR-AAUL
22000-159 | MB217 | Sherwood Kangaroo Corflo 300 Feeding Pump | Master / Sanyo | 6/KR1300SC
46001-546PL | LB-VWVBF2 | Siemens Patient Monitor SC5000 / SC6000 | Master | LB-VWVBF2 (LC-SD122PU - LCT-122R8PU)
60000-037 | A208/2.5S 07190268 | Siemens Sirecust 630 Portable Monitor | Sonnenschein Dryfit | A200 07190268 (A208/2.5S)
46001-564 | LC-R122R2P | Siemens Servo 300 Ventilator | Panasonic | Two units Required of LC-R122R2PU
46001-546PL | LB-VWVBF2 | Siemens SC680 Patient Monitor | Panasonic | LB-VWVBF2 (LC-SD122PU - LCT-122R8PU)
22000-096 | MB820 | SiemensSC9000 Transport Battery | Master / Sanyo | 10/KR-5000DEL
22000-096A | MB821A | SiemensSC9000 Physiologic Monitor | Master / Sanyo | Two units Required of 5/KR1400AE
46001-550N | LCT-1912ANK | Siemens SC9000XL Portable Monitor | Matsushita | LCT-1912ANK
46001-565 | LC-R123R4P | Siemens SC9000XL Physiologic Monitor | Panasonic | LC-R123R4PU
60000-047 | A512/10S | Siemens Mobilette X Ray | Sonnenschein Dryfit | Sixteen units Required of A512/10S
22000-096B | MB823 | Siemens Module Servo I Ventilator | Master / Sanyo | 10/HR-4/3AU Refurbishment
22000-296 | MB832 | Smartsat 146 Oximeter | Master / Sanyo | 16/N1250SCRL
22000-305A | MB833 | Sonicaid D205 Foetal Detector | Master / Varta | 7/CP300H c/w RingTags (3 pcs required)
22000-305 | MB834 | Sonicaid D206 Foetal Detector | Master / Sanyo | 8/N600AA
|  | Spacelabs 90303B |  | Refer to Ivac 710 from this section
60000-037 | A208/2.5S 07190268 | Spacelabs 90305/90315/90316 | Sonnenschein Dryfit | A200 07190268 (A208/2.5S)
22000-095 | MB851 | Spacelab 90600 | Master / Genesis | 3/NP3.8-6
46001-550N | LCT-1912ANK | Spacelab Scout | Matsushita | Two units Required of LCT-1912ANK
| PS1208, 56722 & BR2/3A | Spacelab Universal Work Station (batteries sold seperately) | Century, Varta, Panasonic | PS1208, 56722 & BR2/3A
60000-817A | PS1208 | Spacelab 90389 Power Pupply Unit | Master / Enersys | PS1208
46001-550N | LCT-1912ANK | Spacelab PC Express 90308/90309 Bed Side Monitor | Matsushita | Three units Required of LCT-1912ANK
22000-094 | MB855 | Spacelab Patient Monitor 90367 & 90369 | Master / Sanyo | 10/HR-AU Refurb
46001-550PL | LB-VWVBM10 | Spacelab 90309 & 90369 Portable Patient Monitor | Master / Enersys | Two units Required of LB-VWVBM10
22000-094B | MB856B | Spacelab Monitor 90387/90499 | Master / Sanyo | 10/HRAAAU
22000-094A | MB859A | Spacelab ECG Monitor 92304 | Master / Sanyo | 14/N700AACL use old connector
32005-015 | CR1/3N-BP1 | Spacelab 90207 Blood Pressure Monitor Ram battery | Sanyo | CR1/3N-BP1
22000-093B | MB860 | Spectromed SP1470 Oximeter | Master / Sanyo | 4/N700AACL
22000-093A | MB862 | Spectromed Pulsestat 02 | Master / Sanyo | 4/KR1700AU
22000-093 | MB865A | Spirolab SpirometerII | Master / Sanyo | 6/HR-4/3FAU
46001-585C | LC-XC1228AP | Steris Operating Table | Panasonic | LC-XC1228AP
22000-299B | MB874 | Stryker Ortopower 90298-100 | Master / Sanyo | 6/N1300SCR Refurbishment
22000-299A | MB875 | Stryker 4112 Drill Pack | Master / Sanyo | 8/N500AR Refurbishment
22000-299D | MB876A | Stryker T4 Personal Protection Ventilation | Master / Sanyo | 5/HR-4/3AU Refurbishment
22000-299E | MB877A | Stryker Drill 4126-110 Drill Pack | Master / Sanyo | 8/CP1700SCR Refurbishment
22000-299 | MB878 | Stryker 4115 Drill Pack | Master / Sanyo | 8/CP1700SCR Refurbishment on inspection
22000-299F | MB879A | Stryker Drill 4222-110 Drill Pack | Master / Sanyo | 8/N500AR Refurbishment
60000-046 | A512/6.5S | Stephan F120 Neonatal Transport Ventilator | Sonnenschein Dryfit | A512/6.5S
22000-303S | MB889 | Symbol Nursing Station Laptop | Master / Sanyo | 10/HR-AU
22000-225 | MB265 | System 83 Pump | Master / Sanyo | 20/KR4400D see data scope 3530
30005-910 | MB290B | Tactilitics BSP-10RF RN-Fall Prevention | Master / Sanyo | 6/HR-AAAU
22000-100A | MB891 | Takeda TM2040 | Master / Sanyo | 4/KR1100AAU
22000-100 | MB892 | Takeda TM2420 Monitor | Master / Sanyo | 4/N600AA
22000-149 | MB515 | Temtech Monitor & Defibrillator Lite Guard 6 | Master / Sanyo | 20N500AR Refurbishment
22000-151 | MB516 | Temtech Recorder LiteGuard 6 Recorder / Printer | Master / Sanyo | 20N500AR Refurbishment
22000-152 | MB517 | Temtech Recorder LiteGuard 9 Recorder / Printer | Master / Sanyo | 20/N1700SCR Refurbishment
22000-287 | MB897 | Terumo STC 521 | Master / Sanyo | 6/KR1300SC flatpack
22000-286 | MB895 | Terumo STC 523 (528) | Master / Sanyo | 6/KR1100AEL flatpack
22000-285 | MB898 | Terumo STC 527 | Master / Sanyo | 6/KR1300SC Trapeze
22000-288 | MB900 | Terumo TE 311-312 | Master / Sanyo | 8/N600AA
22000-288A | MB899 | Terumo TE 311-312-332 | Master / Sanyo | 8/KR1100AAU
22000-287A | MB901 | Terumo UTD 7 Foetal Doppler (New Type) | Master / Sanyo | 7/N1250SCRL
22000-272 | MB112 | Terumo UTD 7 Foetal ultra.s | Master | same as Atom700
32005-015 | CR1/3N-BP1 | Tonopen Tonometer | Sanyo | CR1/3N-BP1
22000-086 | MB439 | Touitu Foetal Monitor | Master / Sanyo | 10/N600AA with endcaps
22000-023A | MB149 | Travanol Pac X | Master / Cyclon | 6/0810-0004
22000-157 | MB135 | Travenol infusion Pump | Master / Sanyo | 5/N600AA
22000-312 | MB909 | Trimed Actester | Master / Sanyo | 9/KR-CH
22000-353 | MB910A | Tyco Feeding Palm 624 | Master / Sanyo | 6/HR-AAU
22000-256 | MB911A | Tympanic Fermitron Thermometer | Master / Sanyo | 5/KR900AAEC
61009-325 | CP628 | Ulco MK.5EL& EV500 Ventilator | Vision | CP628 ( used in horizontal plane)
35007-209 | MB910 | Valley lab 5000 inf Pump | Master / Cyclon | 9/0810-0004
60000-014D | NP3.8-6 | Ventilator Royal Women Hospital | Enersys / Genesis | Three units Required of NP3.8-6
46001-564 | LC-R122R2P | Vickers IP5 AVI 400 / 470 Pump | Panasonic | LC-R122R2P
22000-243 | MB913 | Viasys Healthcare Inc Avea Ventilator 68339 | Master / Sanyo | 20/HR4/3FAU
22000-244 | MB914 | Voroscope | Master / Sanyo | 3/KRCH
22000-021 | MB168 | Voyager Patient Lifter A8500 | Master | 2/LB-VWVBM10
22000-170W | MB918W | Weinmann Accuvac Resc Suction Pump | Master / Sanyo | 10/N3000CR Refurbishment (+ plug)
22000-170N | MB920 | Welch Allyn Atlas series Monitor | Master / Panasonic | LC-R067R2P+Connector & Fuse
22000-170I | MB925 | Welch AllynSeries 52000/300VitalSignMonitor | Master / Century | PS640 Rubber Cradle + Spade Terminal
22000-170J | MB926 | Welch AllynSeries 420 Spot Monitor & 53000 Vital Sign Mon | Panasonic | LC-R064R5P Rubber Cradle + Molex Connector
22000-170X | MB926X | Welch Allyn Spot Xli Vital Spot Monitor | Master / Zeus | 1/PC6-6F2
22000-170C | MB919 | Welch Allyn 72000 | Master / Varta | 2/V350H x Triple Units
22000-170Q | MB921E | Welch Allyn 72200 | Master / Sanyo | 3/HR-4UTG (side contacts)
22000-170R | MB918E | Welch Allyn 72300 | Master / Sanyo | 3/HR-4UTG
22000-170G | MB922 | Welch Allyn 72250 | Master / Sanyo | 3/KR1800SCE
22000-170F | MB923 | Welch Allyn 72500 | Master / Sanyo | 3/N110AA x Dual Units
22000-170E | MB924 | Welch Allyn 72600 | Master / Sanyo | 2/KR1100AAU
22000-170D | MB927A | Welch Allyn 72700 | Master / Varta | 6/V150H
22000-170H | MB924A | Welch Allyn 72900 | Master / Sanyo | 2/KR600AE Column
46001-561A | LC-R067R2P | Welch Allyn 75200 | Master / Panasonic | LC-R067R2P
22000-170S | MB924S | Welch Allyn Binocular Indirect Opthalmascope 12000 | Master / Sanyo | 4/N1700SCR
60000-592 | PE1.2-12 | Xomed Treace NIM2XL Nerve detection Monitor | Portalac | Two units Required of PE1.2-12
22000-101 | MB931 | Yamagushi YM-102 ECG | Master / Sanyo | 10/KR1300SC
46001-564 | LC-R122R2P | Zimmer Tourneque | Panasonic | LC-R122R2P
60000-592 | PE1.2-12 | Zimmer Tourneque ATS750 | Portalac | PE1.2-12
46001-564 | LC-R122R2P | Zimmer Tourneque AT1500 & ATS2000 | Panasonic | LC-R122R2P
46001-550N | LCT-1912ANK | Zimmer Tourneque | Matsushita | LCT-1912ANK
22000-102 | MB935 | Zoll PD 1200 | Master / Cyclon | 6/0810-0004 + plug
22000-104 | MB936 | Zoll PD1400/1600/1700 Monitor/Defibrillator & M Series | Master / Cyclon | 5/0810-0004
22000-103S | MB938 | Zoll PD 4410 Smart Battery Refubishment | Master / Cyclon | 5/0810-0004 Refurbishment
22000-103XL | MB939A | Zoll XL Defibrillator | Master / Cyclon | 5/0860-004 Refurbishment
22000-103A | MB938A | Zoll Autopulse | Master / Sanyo | 27/HR-4/3FAU Refurbishment
32005-098 | CR123AS-BP1 | Zoll AED Defibrilator | Sanyo | Ten units Required of CR123AS-BP1
Terco Electronics | P. O. Box 11-018 | Ellerslie, Auckland 1542, New Zealand | Ph: 64 9 2641771 | Fax: 64 9 2641761